## Slide 1: Recitation 0
9/3/21
Greg & Will

## Slide 2: Welcome to MEAM510 Recitation
Greg Campbell
Will Yang

## Slide 3: Labwork
Most of the work for this class with be hands-on
TA’s will help, but so should classmates!
Use Piazza.
Don’t be afraid to ask for help.

## Slide 4: Lab 0 - Equipment

## Slide 5: Lab 0 - Equipment
Function generator
Oscilloscope
Power Supply
Digital Multimeter
Solder Iron
3rd Hand
Fan
Computer

## Slide 6: Difficulties
Datasheet for Digital MultiMeter (DMM)
Don’t put your DMM in the power outlets… Why not?
Pay attention to the settings
O-scopes can be tricky
Double check the probes
Make sure it’s grounded
Don’t forget to hit ‘start’
‘Auto’ is your friend

## Slide 7: Power Supply (Voltage Generator)
Constant Voltage or Constant Current?
How do you change voltage?
How do you limit current?

## Slide 8: Digital multimeters - common pitfall
Notes: Voltage or current?
Where would we put it for current? DON’T FORGET TO CHANGE LEAD.

## Slide 9: Oscilloscope
Take your time going through the steps in the lab.
Don’t be afraid to use the auto feature, but know how the others work
Verify that O-Scope is working (including probes) BEFORE hooking it up to your project
  Function generator is great for this.

## Slide 10: General Terminology
Frequency
  Hz, 1/Period
Period
  s, 1/Frequency
Duty Cycle
  %, ON time
Waveform
  Sine wave
  Square wave
  Triangular wave

## Slide 11: For later… Soldering
Cleaning iron tip
  Don’t just poke, drag.
3rd Hand
  Use it.
Fan
  Use it.